## CIRC 01.
CÁLCULO DE QUEDA DE TENSÃO
OBRA: Implantação do Sistema de Iluminação Pública do tipo Ornamental da Av. Dr. JAMIL KAUÁS no município de Selviria-MS
NÚMERO: S/N PRIM. 13,8kV SECUN . 220/127V FP. 0,920
(transformador ou aliment.)
DV%*100=[(Coef.Q.Ten.)*Prod.(A*K)]*100/DV
Trecho | Dist(km) | Pot(W) Inicial | Pot(W) com 10% | Corr(A) Inicial | Corr(A) com 20% | Prod(A*km) | Bitola mm² | Coefic. Queda | Cabos | DV |  | DV%*100 | TOTAL
CIRCUITO 01 - 12 POSTES COM 3 LUMINÁRAIS LED 150W
T1 - QC | 0.005 | 5400 | 5400 | 15.4036 | 18.4843 | 0.092422 | 10 | 3.17 | 15 | 220 | 15 | 0.13317 | 0.13317
QC - A | 0.016 | 5400 | 5400 | 15.4036 | 18.4843 | 0.29575 | 10 | 3.17 | 48 | 221 | 48 | 0.42422 | 0.55739
A - B | 0.03941 | 2250 | 2250 | 6.4182 | 7.7018 | 0.30353 | 10 | 3.17 | 118.23 | 220 | 118.23 | 0.43736 | 0.99475
B - C | 0.03941 | 1800 | 1800 | 5.1345 | 6.1614 | 0.24282 | 6 | 5.25 | 118.23 | 220 | 118.23 | 0.57946 | 1.5742
C - D | 0.03941 | 1350 | 1350 | 3.8509 | 4.6211 | 0.18212 | 6 | 5.25 | 118.23 | 220 | 118.23 | 0.4346 | 2.0088
D- E | 0.03941 | 900 | 900 | 2.5673 | 3.0807 | 0.12141 | 4 | 7.79 | 118.23 | 220 | 118.23 | 0.42991 | 2.4387
E-F | 0.03941 | 450 | 450 | 1.2836 | 1.5404 | 0.060706 | 4 | 7.79 | 118.23 | 221 | 118.23 | 0.21398 | 2.6527
A - G | 0.03912 | 2700 | 2700 | 7.7018 | 9.2422 | 0.36155 | 10 | 3.17 | 117.36 | 224 | 117.36 | 0.51166 | 1.0691
G - H | 0.03969 | 2250 | 2250 | 6.4182 | 7.7018 | 0.30568 | 6 | 5.25 | 119.07 | 225 | 119.07 | 0.71326 | 1.7823
H - I | 0.03941 | 1800 | 1800 | 5.1345 | 6.1614 | 0.24282 | 6 | 5.25 | 118.23 | 226 | 118.23 | 0.56408 | 2.3464
I - J | 0.03941 | 1350 | 1350 | 3.8509 | 4.6211 | 0.18212 | 6 | 5.25 | 118.23 | 227 | 118.23 | 0.4212 | 2.7676
J - K | 0.03941 | 900 | 900 | 2.5673 | 3.0807 | 0.12141 | 4 | 7.79 | 118.23 | 228 | 118.23 | 0.41482 | 3.1824
K - L | 0.03941 | 450 | 450 | 1.2836 | 1.5404 | 0.060706 | 4 | 7.79 | 118.23 | 229 | 118.23 | 0.20651 | 3.3889
DEMANDA NOTURNA = 5.400W
PREPARADO POR______________________ VISTO_____________DATA ____/____/________

## Quant. Condutores e eletrodutos
CABO | Queda de tensão em V/A km fp 0,95 trifásico
#95 | 0.43 |  |  |  | Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm² |  | Cond. #4mm²
#70 | 0.55 |  |  |  |  | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
#50 | 0.76 |  |  |  | 0 | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF!
#35 | 0.98 |  |  |  | T1 - QC | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0
#25 | 1.33 |  |  |  | QC - A | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 16 |  | 0 |  | 0
#16 | 2.03 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#10 | 3.17 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#6 | 5.25 |  |  |  | A - B | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41 |  | 0 |  | 0
#4 | 7.79 |  |  |  | B - C | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41 |  | 0
#2,5 | 12.4 |  |  |  | C - D | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41 |  | 0
[5 empty] | D- E | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41
CABO | 1 cond. (m) | 2 cond. (m) | 3 cond. (m) |  | E-F | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41
cabo 95 | #REF! | #REF! | #REF! |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 70 | #REF! | #REF! | #REF! |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 50 | #REF! | #REF! | #REF! |  | A - G | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.12 |  | 0 |  | 0
cabo 35 | #REF! | #REF! | #REF! |  | G - H | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.69 |  | 0
cabo 25 | #REF! | #REF! | #REF! |  | H - I | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41 |  | 0
cabo 16 | #REF! | #REF! | #REF! |  | I - J | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41 |  | 0
cabo 10 | #REF! | #REF! | #REF! |  | J - K | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41
cabo 6 | #REF! | #REF! | #REF! |  | K - L | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 39.41
cabo 4 | #REF! | #REF! | #REF! |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Subida dos Postes (m) |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 4 | 207.9 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 2,5 | 138.6 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Eletrodutos |  | comp. (m) | barras de 6m | de #6 a #16 - 1 1/4'' | #REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
eletroduto FG 1 1/4'' | 26 | 27.3 | 5 | de #25 a #35 - 1 1/2'' | #REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
eletroduto FG 1 1/2'' | 10.95 | 11.4975 | 2 | de #50 a #70 - 2'' | #REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
eletroduto FG 2'' |  | 0 | 0 | de #6 a #16 - 1 1/4'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 1 1/4'' | 245 | 257.25 |  | de #25 a #35 - 1 1/2'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 1 1/2'' |  | 0 |  | de #50 a #70 - 2'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | 0 |  | 0 |  | 0
eletroduto PVC 2'' |  | 0 |  |  | DEMANDA NOTURNA = 5.400W | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
total em escavação | 281.95 |  |  |  | PREPARADO POR______________________ VISTO_____________DATA ____/____/________ | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | 0 |  | 0 |  | 0
Proteção e comando |  |  |  | Pot. (W) | 0 | 0 |  | 0 |  | #REF! |  | 0 |  | #REF! |  | #REF! |  | #REF! |  | 0 |  | 0
| corrente 20% | Valor de M. |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Corrente Max. (A) | 19 |  | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
disjuntor | 22.8 | 32A | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
contator | 26.6 | 38A | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Fus. NH retaredado | 19 | 25A | NH00 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0

## Plan1
Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm²
| comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
0 | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF!
T1 - QC | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QC - A | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
A - B | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
B - C | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
C - D | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
D- E | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
E-F | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | 0
G - H | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | 0
H - I | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
I - J | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
J - K | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
K - L | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
DEMANDA NOTURNA = 5.400W | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PREPARADO POR______________________ VISTO_____________DATA ____/____/________ | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0